Supplemental Online Material – 1181498s - Drmanac R, et al.

Section 1: Sample prep and library construction

The 4-adaptor library construction process is summarized in Fig. S1. This process incorporates several DNA engineering innovations to realize: i) high yield adaptor ligation and DNA circularization with minimal chimera formation, ii) directional adaptor insertion with minimal creation of structures containing undesired adaptor topologies, iii) iterative selection of constructs with desired adaptor topologies by PCR, iv) efficient formation of strand-specific ssDNA circles, and v) single tube solution-phase amplification of ssDNA circles to generate discrete (non-entangled) DNA nanoballs (DNBs) in high concentration. Whereas the process involves many independent enzymatic steps, it is largely recursive in nature and is amenable to automation for the processing of 96 sample batches.
Genomic DNA (gDNA) was fragmented by sonication to a mean length of 500 bp, and fragments migrating within a 100 bp range (e.g. ~400 to ~500 bp for NA19240) were isolated from a polyacrylamide gel and recovered by QiaQuick column purification (Qiagen, Valencia, CA).  Approximately 1 ug (~3 pmol) of fragmented gDNA was treated for 60 min at 37°C with 10 units of FastAP (Fermentas, Burlington, ON, CA), purified with AMPure beads (Agencourt Bioscience, Beverly, MA), incubated for 1h at 12°C with 40 units of T4 DNA polymerase [New England Biolabs (NEB), Ipswich, MA), and AMPure purified again, all according to the manufacturers’ recommendations, to create non-phosphorylated blunt termini.  The end-repaired gDNA fragments were then ligated to synthetic adaptor 1 (Ad1) arms (Table S1) with a novel nick translation ligation process which produces efficient adaptor-fragment ligation with minimal fragment-fragment and adaptor-adaptor ligation.  Approximately 1.5 pmol of end repaired gDNA fragments were incubated for 120 min at 14°C in a reaction containing 50mM Tris-HCl (pH 7.8), 5% PEG 8000, 10mM MgCl2, 1mM rATP, a 10-fold molar excess of 5’-phosporylated (5’PO4) and 3’ dideoxy terminated (3’dd) Ad1 arms (Table S1) and 4,000 units of T4 DNA ligase (Enzymatics, Beverly, MA).  T4 DNA ligation of 5’PO4 Ad1 arm termini to 3’OH gDNA termini produced a nicked intermediate structure, where the nicks consisted of dideoxy (and therefore non-ligatable) 3’ Ad1 arm termini and non-phosphorylated (and therefore non-ligatable) 5’ gDNA termini.  After AMPure purification to remove unincorporated Ad1 arms, the DNA was incubated for 15 min at 60°C in a reaction containing 200uM Ad1 PCR1 primers (Table S1), 10mM Tris-HCl (pH 78.3), 50 mM KCl, 1.5 mM MgCl2, 1 mM rATP,  100 uM dNTPs, to exchange 3’ dideoxy terminated Ad1 oligos with 3’OH terminated Ad1 PCR1 primers. The reaction was then cooled to 37°C and, after addition of 50 units of Taq DNA polymerase (NEB) and 2000 units of T4 DNA ligase, was incubated a further 30 min at 37°C, to create functional 5’PO4 gDNA termini by Taq-catalyzed nick translation from Ad1 PCR1 primer 3’ OH termini, and to seal the resulting repaired nicks by T4 DNA ligation. 
Approximately 700 pmol of AMPure purified Ad1-ligated material was subjected to PCR (6-8 cycles of 95°C for 30 sec, 56°C for 30 sec, 72°C for 4min) in a 800uL reaction consisting of 40 units of PfuTurbo Cx (Stratagene, La Jolla, CA) 1X Pfu Turbo Cx buffer, 3 mM MgSO4, 300 uM dNTPs, 5% DMSO, 1M Betaine, and 500nM each Ad1 PCR1 primer (Table S1). This process resulted in selective amplification of the ~350 fmol of template containing both left and right Ad1 arms, to produce approximately 30 pmol of PCR product incorporating dU moieties at specific locations within the Ad1 arms. Approximately 24pmol of AMPure-purified product was treated at 37°C for 60 min with 10 units of a UDG/EndoVIII cocktail (USER; NEB) to create Ad1 arms with complementary 3’ overhangs and to render the right Ad1 arm-encoded AcuI site partially single-stranded. This DNA was incubated at 37C for 12h in a reaction containing 10 mM Tris-HCl (pH7.5), 50 mM NaCl, 1 mM EDTA, 50uM s-adenosyl-L-methionine, and 50 units of Eco57I (Fermentas, Glen Burnie, MD), to methylate the left Ad1 arm AcuI site as well as genomic AcuI sites. Approximately 18pmol of AMPure-purified, methylated DNA was diluted to a concentration of 3 nM in a reaction consisting of 16.5 mM Tris-OAc (pH 7.8), 33 mM KOAc, 5 mM MgOAc, and 1 mM ATP, heated to 55°C for 10 min, and cooled to 14°C for 10 min, to favor intramolecular hybridization (circularization). The reaction was then incubated at 14°C for 2h with 3600 units of T4 DNA ligase (Enzymatics) in the presence of 180nM of non-phosphorylated bridge oligo (Table S1) to form monomeric dsDNA circles containing top-strand-nicked Ad1 and double-stranded, unmethylated right Ad1 AcuI sites. The Ad1 circles were concentrated by AMPure purification and incubated at 37°C for 60 min with 100U PlasmidSafe exonuclease (Epicentre, Madison, WI) according to the manufacturer’s instructions, to eliminate residual linear DNA. 

Approximately 12 pmol of Ad1 circles were digested at 37°C for 1h with 30 units of AcuI (NEB) according to the manufacturer’s instructions to form linear dsDNA structures containing Ad1 flanked by two segments of insert DNA. After AMPure purification, approximately 5 pmol of linearized DNA was incubated at 60°C for 1h in a reaction containing 10 mM Tris-HCl (pH8.3), 50 mM KCl, 1.5 mM MgCl2, 0.163 mM dNTP, 0.66 mM dGTP, and 40 units of Taq DNA polymerase (NEB), to convert the 3’ overhangs proximal to the active (right) Ad1 AcuI site to 3’G overhangs by translation of the Ad1 top-strand nick. The resulting DNA was incubated for 2h at 14°C in a reaction containing 50mM Tris-HCl (pH 7.8), 5% PEG 8000, 10mM MgCl2, 1mM rATP, 4000 units of T4 DNA ligase, and a 25-fold molar excess of asymmetric Ad2 arms (Table S1),  with one arm designed to ligate to the 3’ G overhang, and the other designed to ligate to the 3’ NN overhang, thereby yielding directional (relative to Ad1) Ad2 arm ligation. Approximately 2 pmol of Ad2-ligated material was purified with AMPure beads, PCR-amplified with PfuTurbo Cx and dU-containing Ad2-specific primers (Table S1), AMPure purifies, treated with USER, circularized with T4 DNA ligase, concentrated with AMPure and treated with PlasmidSafe, all as above, to create Ad1+2-containing dsDNA circles. 

Approximately 1 pmol of Ad1+2 circles were PCR-amplified with Ad1 PCR2 dU-containing primers (Table S1), AMPure purified, and USER digested, all as above,  to create fragments flanked by Ad1 arms with complimentary 3’ overhangs and to render the left Ad1 AcuI site partially single-stranded.  The resulting fragments were methylated to inactivate the right Ad1 AcuI site as well as genomic AcuI sites, AMPure purified and circularized, all as above,  to form dsDNA circles containing bottom strand-nicked Ad1 and double stranded unmethylated left Ad1 AcuI sites. The circles were concentrated by AMPure purification, AcuI digested, AMPure purified G-tailed, and ligated to asymmetric Ad3 arms (Table S1), all as above, thereby yielding directional Ad3 arm ligation.  The Ad3-ligated material was AMPure purified, PCR-amplified with dU-containing Ad3-specific primers (Table S1), AMPure purified, USER-digested, circularized and concentrated, all as above, to create Ad1+2+3-containing circles, wherein Ad2 and Ad3 flank Ad1 and contain EcoP15 recognition sites at their distal termini.  

Approximately 10 pmol of Ad1+2+3 circles were digested for 4h at 37°C with 100 units of EcoP15 (NEB) according to the manufacturer’s instructions,  to liberate a fragment containing the three adaptors interspersed between four gDNA fragments.  After AMPure purification, the digested DNA was end-repaired with T4 DNA polymerase as above, AMPure purified as above, incubated for 1h at 37°C in a reaction containing 50 mM NaCl, 10 mM Tris-HCl (pH7.9), 10 mM MgCl2, 0.5 mM dATP, and 16 units of Klenow exo- (NEB) to add 3’ A overhangs, and ligated to T-tailed Ad4 arms as above. The ligation reaction was run on a polyacrylamide gel, and Ad1+2+3+Ad4-arm-containing fragments were eluted from the gel and recovered by QiaQuick purification.  Approximately 2 pmol of recovered DNA was amplified as above with Pfu Turbo Cx (Stratagene) plus a 5’-biotinylated primer specific for one Ad4 arm and a 5’PO4 primer specific for the other Ad4 arm (Table S1). 

Approximately 25 pmol of biotinylated PCR product was captured on streptavidin-coated, Dynal paramagnetic beads (Invitrogen, Carlsbad, CA), and the non-biotinylated strand, which contained one 5’ Ad4 arm and one 3’ Ad4 arm, was recovered by denaturation with 0.1N NaOH, all according to the manufacturer’s instructions.  After neutralization, strands containing Ad1+2+3 in the desired orientation with respect to the Ad4 arms were purified by hybridization to a three-fold excess of an Ad1 top strand-specific biotinylated capture oligo (Table 1), followed by capture on streptavidin beads and 0.1N NaOH elution, all according to the manufacturer’s instructions. Approximately 3 pmol of recovered DNA was incubated for 1h at 60°C with 200 units of CircLigase (Epicentre) according to manufacturer’s instructions, to form single-stranded (ss)DNA Ad1+2+3+4-containing circles, and then incubated for 30 min at 37C with 100 units of ExoI and 300 units of ExoIII (both from Epicenter) according to the manufacturer’s instructions,  to eliminate non-circularized DNA. 

100fmol of Ad1+2+3+4 ssDNA circles were incubated for 10 min at 90°C in a 400uL reaction containing 50mM Tris-HCl (pH 7.5), 10mM (NH4)2SO4, 10mM MgCl2, 4 mM DTT, and 100nM Ad4 PCR 5B primer (Table S1). The reaction was adjusted to an 800uL reaction containing the above components plus 800uM each dNTP and 320 units of Phi29 DNA polymerase (Enzymatics), and incubated for 30 min at 30°C to generate DNBs.  Short palindromes in the adaptors (Table S1) promote coiling of ssDNA concatamers via reversible intra-molecular hybridization into compact ~300 nm DNBs, thereby avoiding entanglement with neighboring replicons.  The combination of synchronized RCR conditions and palindrome-driven DNB assembly enable generation of over 20 billion discrete DNBs/ml of RCR reaction.  These compact structures are stable for several months without evidence of degradation or entanglement.
Section 2: Library construction QC

To assess coverage bias, library construction intermediates were assayed by quantitative PCR (QPCR) with the StepOne platform (Applied Biosystems, Foster City, CA) and a SYBR Green-based QPCR assay (Quanta Biosciences, Gaithersburg, MD) for the presence and concentration of a set of 96 dbSTS markers (Table S2) representing a range of locus GC contents. Raw cycle threshold (Ct) values were collected for each marker in each sample. Next, the mean Ct for each sample was subtracted from its respective raw Ct values, to generate a set of normalized Ct values, such that the mean normalized Ct value for each sample was zero.  Finally, the mean (from four replicate runs) normalized Ct of each marker in gDNA was subtracted from its respective normalized Ct values, to produce a set of delta Ct values for each marker in each sample (Fig. S2). 

To assess library construct structure, 4Ad hybrid-captured, single-stranded library DNA was PCR-amplified with Taq DNA polymerase (NEB) and Ad4-specific PCR primers. These PCR products were cloned with the TopoTA cloning kit (Invitrogen), and colony PCR was used to generate PCR amplicons from 192 independent colonies. These PCR products were purified with AMPure beads and sequence information was collected from both strands with Sanger dideoxy sequencing (MCLAB, South San Francisco, CA). The resulting traces were filtered for high quality data, and clones containing a library insert with at least one good read were included in the analysis (Tables S3, S4). 

The assembled genome datasets were subjected to a routine identity QC analysis protocol to confirm their sample of origin. Assembly-derived SNP genotypes were found to be highly concordant with those independently obtained from the original DNA samples, indicating the dataset was derived from the sample in question.  Also, mitochondrial genome coverage in each lane was sufficient to support lane-level mitochondrial genotyping (average of 31-fold per lane).  A 39-SNP mitochondrial genotype profile was compiled for each lane, and compared to that of the overall dataset, demonstrating that each lane derived from the same source.
Section 3: DNB array manufacturing

To manufacture patterned substrates, a layer of silicon dioxide was grown on the surface of a standard silicon wafer (Silicon Quest International, Santa Clara, CA). A layer of titanium was deposited over the silicon dioxide, and the layer was patterned with fiducial markings with conventional photolithography and dry etching techniques.  A layer of hexamethyldisilizane (HMDS) (Gelest Inc., Morrisville, PA) was added to the substrate surface by vapor deposition, and a deep-UV, positive-tone photoresist material was coated to the surface by centrifugal force. Next, the photoresist surface was exposed with the array pattern with a 248 nm lithography tool, and the resist was developed to produce arrays having discrete regions of exposed HMDS. The HMDS layer in the holes was removed with a plasma-etch process, and aminosilane was vapor-deposited in the holes to provide attachment sites for DNBs.  The array substrates were recoated with a layer of photoresist and cut into 75 mm x 25 mm substrates, and all photoresist material was stripped from the individual substrates with ultrasonication. Next, a mixture of 50 µm polystyrene beads and polyurethane glue was applied in a series of parallel lines to each diced substrate, and a coverslip was pressed into the glue lines to form a six-lane gravity/capillary-driven flow slide.  The aminosilane features patterned onto the substrate serve as binding sites for individual DNBs, whereas the HMDS inhibits DNB binding between features. DNBs preps were loaded into flow slide lanes by pipetting 2- to 3-fold more DNBs than binding sites on the slide. Loaded slides were incubated for 2h at 23°C in a closed chamber, and rinsed to neutralize pH and remove unbound DNBs.

Section 4: cPAL sequencing

Unchained sequencing of target nucleic acids by combinatorial probe anchor ligation (cPAL) involves detection of ligation products formed by an anchor oligo hybridized to part of an adaptor sequence, and a fluorescent degenerate sequencing probe that contains a specified nucleotide at an “interrogation position”. If the nucleotide at the interrogation position is complementary to the nucleotide at the detection position within the target, ligation is favored, resulting in a stable probe-anchor ligation product that can be detected by fluorescent imaging.  
Four fluorophores were used to identify the base at an interrogation position within a sequencing probe, and pools of four sequencing probes were used to query a single base position per hybridization-ligation-detection cycle. For example, to read position 4, 3’ of the anchor, the following 9mer sequencing probes were pooled where “p” represents a phosphate available for ligation and “N” represents degenerate bases:

5’-pNNNANNNNN-Quasar 670

5’- pNNNGNNNNN-Quasar 570

5’- pNNNCNNNNN-Cal fluor red 610

5’- pNNNTNNNNN-fluorescein

A total of forty probes were synthesized (Biosearch Technologies, Novato, CA) and HPLC-purified with a wide peak cut. These probes consisted of five sets of four probes designed to query positions 1 through 5 5’ of the anchor and five sets of four probes designed to query positions 3’ of the anchor. These probes were pooled into 10 pools, and the pools were used in combinatorial ligation assays with a total of 16 anchors [4 adaptors x 2 adaptor termini x 2 anchors (standard and extended)], hence the name combinatorial probe-anchor ligation (cPAL).

To read positions 1-5 in the target sequence adjacent to the adaptor, 1 µM anchor oligo was pipetted onto the array and hybridized to the adaptor region directly adjacent to the target sequence for 30 min at 28°C.  A cocktail of 1000 U/ml T4 DNA ligase plus four fluorescent probes (at typical concentrations of 1.2 µM T, 0.4 µM A, 0.2 µM C, and 0.1 µM G) was then pipetted onto the array and incubated for 60 min at 28°C.  Unbound probe was removed by washing with 150 mM NaCl in Tris buffer pH 8.

In general, T4 DNA ligase will ligate probes with higher efficiency if they are perfectly complementary to the regions of the target nucleic acid to which they are hybridized, but the fidelity of ligase decreases with distance from the ligation point.  To minimize errors due to incorrect pairing between a sequencing probe and the target nucleic acid, it is useful to limit the distance between the nucleotide to be detected and the ligation point of the sequencing and anchor probes.  By employing extended anchors capable of reaching 5 bases into the unknown target sequence, we were able to use T4 DNA ligase to read positions 6-10 in the target sequence.  

Creation of extended anchors involved ligation of two anchor oligos designed to anneal next to each other on the target DNB. First-anchor oligos were designed to terminate near the end of the adaptor, and second-anchor oligos, comprised in part of five degenerate positions that extended into the target sequence, were designed to ligate to the first anchor.  In addition, degenerate second-anchor oligos were selectively modified to suppress inappropriate (e.g., self) ligation. For assembly of 3’ extended anchors (which contribute their 3’ ends to ligation with sequencing probe), second-anchor oligos were manufactured with 5’ and 3’ phosphate groups, such that 5’ ends of second-anchors could ligate to 3’ ends of first-anchors, but 3’ ends of second-anchors were unable to participate in ligation, thereby blocking second-anchor ligation artifacts. Once extended anchors were assembled, their 3’ ends were activated by dephosphorylation with T4 polynucleotide kinase (Epicentre). Similarly, for assembly of 5’ extended anchors (which contribute their 5’ ends to ligation with sequencing probe), first-anchors were manufactured with 5’ phosphates, and second-anchors were manufactured with no 5’ or 3’ phosphates, such that the 3’ end of second-anchors could ligate to 5’ ends of first-anchors, but 5’ ends of second-anchors were unable to participate in ligation, thereby blocking second-anchor ligation artifacts.  Once extended anchors were assembled, their 5’ ends were activated by phosphorylation with T4 polynucleotide kinase (Epicentre).

First-anchors (4 µM) were typically 10 to 12 bases in length and second-anchors (24 µM) were 6 to 7 bases in length, including the five degenerate bases. The use of high concentrations of second-anchor introduced negligible noise and minimal cost relative to the alternative of our using high concentrations of labeled probes. Anchors were ligated with 200 U/ml T4 DNA ligase at 28°C for 30 min and then washed three times before addition of 1 U/ml T4 polynucleotide kinase (Epicentre) for 10 min.  Sequencing of positions 6-10 then proceeded as above for reading positions 1-5. 

After imaging, the hybridized anchor-probe conjugates were removed with 65% formamide, and the next cycle of the process was initiated by the addition of either single-anchor hybridization mix or two-anchor ligation mix. Removal of the probe-anchor product after every assayed base is an important feature of unchained base reading. Starting a new ligation cycle on the clean DNA allows accurate measurements at 20 to 30% ligation yield, which can be achieved at low cost and high accuracy with low concentrations of probes and ligase. 

Section 5: Imaging

A Tecan (Durham NC) MSP 9500 liquid handler was used for automated cPAL biochemistry, and a robotic arm was used to interchange the slides between the liquid handler and an imaging station. The imaging station consisted of a four-color epi-illumination fluorescence microscope built with off-the-shelf components, including an Olympus (Center Valley, PA) NA=0.95 water-immersion objective and tube lens operated at 25-fold magnification; Semrock (Rochester, NY) dual-band fluorescence filters, FAM/Texas Red and CY3/CY5; a Wegu (Markham, Ontario, Canada) autofocus system; a Sutter (Novato CA) 300W xenon arc lamp coupled to Lumatec (Deisenhofen, Germany) 380 liquid light guide; an Aerotech (Pittsburgh, PA) ALS130 X-Y stage stack; and two Hamamatsu (Bridgewater, NJ) 9100 1-megapixel EM-CCD cameras.  Each slide was divided into 6,396 320 µm x 320 µm fields.  The fields were organized into six 1066-field groups, corresponding to the lanes created by glue lines on the substrate.  Four-color images of each group were generated (requiring one filter change) before moving to the next group.  Images were taken in step-and-repeat mode at an effective rate of seven frames per second. To maximize microscope utilization and match the biochemistry cycle time and imaging cycle time, six slides were processed in parallel with staggered biochemistry start times, such that the imaging of slide N was completed just as slide N+1 was completing its biochemistry cycle

Section 6: Base calling 

Each imaging field contains 225 x 225 = 50625 spots or potential DNB features. The four images associated with a field were processed independently to extract DNB intensity information, with the following steps: 1) background removal, 2) image registration, 3) intensity extraction. First, background was estimated with a morphological opening (erosion followed by dilation) operation. The resulting background image was then subtracted from the original image. Next, a flexible grid was registered to the image. In addition to correction for rotation and translation, this grid allowed for (R-1) + (C-1) degrees (here: R=C=225) of freedom for scale/pitch, where R and C are the number of DNB rows and columns, respectively, such that each row or column of the grid was allowed to float slightly in order to find the optimal fit to the DNB array.  This process accommodates optical aberrations in the image as well as fractional pixels per DNB.  Finally, for each grid point, a radius of one pixel was considered; and within that radius, the average of the top 3 pixels was computed and returned as the extracted intensity value for that DNB. 

The data from each field were then subjected to base calling, which involved four major steps: 1) crosstalk correction, 2) normalization, 3) calling bases, and 4) raw base score computation. First, crosstalk correction was applied to reduce optical (fixed) and biochemical (variable) crosstalk between the four channels. All the parameters—fixed or variable—were estimated from the data for each field. A system of four intercepting lines (at one point) was fit to the four-dimensional intensity data with a constrained optimization algorithm. Sequential quadratic programming and genetic algorithms were used for the optimization process. The fit model was then used to reverse-transform the data into the canonical space. After crosstalk correction, each channel was independently normalized, with the distribution of the points on the corresponding channel. Next, the axis closest to each point was selected as its base call. Bases were called on all spots regardless of quality. Each spot then received a raw base score, reflecting the confidence level in that particular base call. The raw base score computation was made by the geometrical mean of several sub-scores, which capture the strength of the clusters as well as their relative position and spread and the position of the data point within its cluster.
Section 7: DNB mapping

The gapped read structure described above requires some adjustments to standard informatic analyses.  It is possible to represent each arm as a continuous string of bases if one fixes the lengths of the gaps between reads (e.g. with the most common values), replaces positive gaps with Ns, and uses a consensus call for base positions where reads overlap.  Such a string can be aligned to a reference sequence using dynamic programming including standard Smith-Waterman local alignment scoring, or with modified scoring schemes that allow indels only at the locations of gaps between reads.  Methods for high-speed mapping of short reads involving some form of indexing of the reference genome can also be applied, though indexes relying on ungapped seeds longer than 10 bases limit the portion of the arm that can be compared to the index and/or require limits on the allowed gap sizes.  In simulations, we have found that missing the correct gap structure for even a small fraction (<1%) of arms can substantially increase variation calling errors, because we miss the correct alignment for these arms and may thus put too much confidence in a false mapping with the wrong gap structure.  Consequently, we have developed an efficient method for mapping DNBs that can find nearly all correct mappings.

Mate-paired arm reads were aligned to the reference genome in a two-stage process. First, left and right arms were aligned independently using indexing of the reference genome. This initial search is guaranteed to find all locations in the genome that match the arm with at most two single-base substitutions, but may find some locations that have up to five mismatches. The number of mismatches in the reported alignments was further limited so that the expectation of finding an alignment to random sequence of the same length as the reference was < 4-3. If a particular arm had more than 1000 alignments, no alignments were carried forward, and the arm was marked as “overflow”. Second, for every location of a left arm identified in the first stage, the right arm was subjected to a local alignment process, which was constrained to a genomic interval informed by the distribution of the mate distance (here, 0 to 700 bases away). Up to four single-base mismatches were allowed during this process; the number of mismatches was further limited so that the expectation of a random alignment of the entire mate pair was <4-7. The same local search for the left arms was performed in the vicinity of right arm alignments.

At both stages, the alignment of a gapped arm read was performed by trying multiple combinations of gap values. The frequencies of gap values were estimated for every library by aligning a sample of arm reads from that library with lenient limits on the gap values. During the bulk alignment, only a subset of the gap values was used for performance reasons; the cumulative frequency of the neglected gap values was approximately 10-3. Both stages were capable of aligning arms containing positions that were not sequenced successfully (no-calls). The expectation calculations above take into account the number of no-calls in the arm. Finally, if a mate-pair had any consistent locations of arms (that is, left and right arms were on the same strand, in the proper order and within the expected mate-distance distribution), then only these locations were retained. Otherwise, all locations of the mate-pair were retained. In either case, for performance reasons, at most 50 locations for every arm were reported; arms that had more retained locations were marked as “overflow”, and no locations were reported.  The overall data yield of spots imaged through mapped reads varied between 40 and 50% reflecting end-to-end losses from all process inefficiencies including unoccupied array spots, low quality areas, abnormal DNBs and DNBs with non-human (e.g. EBV-derived) DNA.
Section 8: Local assembly 
Reconstruction of the genome being sequenced was performed as a reference-guided assembly based on the mappings described above, using as reference NCBI Build 36 of the human genome.  SNPs and indels of perhaps a few bases could be reconstructed by a consensus base calling method applied to a multiple-sequence alignment of mapped reads aligned to a reference sequence.  To facilitate exploration of such methods, mappings can be transformed into common alignment formats such as SAM/BAM (albeit with some loss of information where reads overlap). However, such an ‘alignment+consensus’ approach is limited and ultimately prone to certain types of errors.  Regions of the genome that differ enough from the reference to prevent discovery of a correct alignment during a mapping step such as described above will be unresolved, called as reference (esp. in the case of heterozygous variations), or even called with an incorrect sequence in those cases where reads are mapped but with an incorrect alignment.  Consequently, we developed an approach to genome reconstruction that identifies regions where the reference sequence is a poor fit to the data and then performs a local assembly of such regions using a set of reads recruited based on the mapping of the other arm of each DNB.  

The identification of regions of interest involves determining at every base in the reference whether recruited reads provide consistent support for an alternative to the reference.  All possible SNPs, one-base indels, and single-copy expansions or contractions of small tandem repeat motifs are evaluated using the likelihood scoring described below.  Additionally, the possibility of longer changes is evaluated by using segments of the reference as seed nodes in a De Bruijn graph and iteratively adding additional nodes that are supported by recruited reads; novel paths in the De Bruijn graph that reconverge on the original nodes are input to the same likelihood calculation.   If insufficient support for the reference over any of these alternatives is found, the corresponding portion of the reference, plus a few bases (typically three) on either side, is subjected to more extensive analysis as detailed below.  

Assembly was performed relative to NCBI Build 36 reference human genome ([image: image2.png]


). The resequenced genome ([image: image4.png]Gy )



 was obtained by iteratively maximizing its a posteriori probability[image: image6.png]P(G;|DNBs)



, which accounts for all DNBs obtained during the experiment. 

From Bayes’s theorem, and under the simplifying assumption that each DNB is generated independently of all others, the a posteriori probability [image: image8.png]P(G;|DNBs)



 satisfies 

[image: image9.png]P(G,|DNBs) _ P(Gy) 1T P(DNB|Gy)
P(Go[DNBs)  P(Go) 1, L P(DNBIGo)





Here, [image: image11.png]P(Go)



 and [image: image13.png]P(Gy)



 are a priori probabilities.  The assumption that all[image: image15.png]


’s have the same a priori probability yields

[image: image16.png]P(G,|DNBs) _ 17T P(DNB|G,)
P(GoDNBs) | | P(DNBIG)





The conditional probabilities [image: image18.png]P(DNB|Gy)



 were evaluated under the assumption that all positions in the genome, both alleles at each genome location, and both DNA strands, are all equally likely to generate a DNB.  Each DNB can therefore originate from a large number of mappings M, each consisting of a hypothesis for the location of each of the contiguous reads that make up the DNB. This hypothesis must be consistent with the known possible values for read gaps, but all possible mappings should in principle be considered, regardless of the number of mismatches between the genome and the DNB. Since all mappings are exclusive events, this gives

[image: image19.png]P(DNB|G) = z P(M)P(DNB|M,G)




Here, [image: image21.png]


 can be [image: image23.png]


 or [image: image25.png]


. The sum is over all possible mappings, and [image: image27.png]P(M)



 is the probability of that mapping being realized, given the known distribution of read gap values. [image: image29.png]P(DNB|M,G)



 is the probability of reading the observed bases once the mapping is fixed. 

[image: image31.png]P(DNB|M, G)



 was evaluated at each position under the assumptions that all errors are base substitutions, errors are uncorrelated, and errors are equally likely at all positions in the genome. An error rate ( [image: image33.png]


 ) was estimated for each base call from its raw base score, with a calibration curve obtained from mapping results. Under this model, [image: image35.png]P(DNB|M, G)



 is a product of a factor [image: image37.png]


 for each base position in the DNB which agrees with the genome, and a factor [image: image39.png]€/3



 for each position which does not agree. 

The above model can in principle evaluate the probability ratio [image: image41.png]P(G, IDNBs) /P(Go|DNBs)



 for any [image: image43.png]


. This requires a product over all DNBs and, for each DNB, a sum over all possible mappings, which is computationally prohibitive. However, the vast majority of mappings ( [image: image45.png]


) give a negligibly small contribution to [image: image47.png]P(DNBIG)



. Only mappings with a small number of mismatches contribute significantly, because the factor [image: image49.png]€/3



 for each mismatch reduces the contribution in an exponential fashion.

Thus, to make computation tractable, the approximation 

[image: image50.png]PONBIG) =+ ) P(M)P(DNBIM,G)

swongM




was employed, where the sum was applied only to the subset of mappings which were likely to contribute most, and where the contribution of the neglected mappings was approximated as a constant [image: image52.png]a



 assumed to be the same for all DNBs. An additional simplification consisted of only considering possibilities in which [image: image54.png]


 and [image: image56.png]


 are identical except for a small localized region. This formulation allowed efficient computation of [image: image58.png]P(G, IDNBs) /P(Go|DNBs)



 for any [image: image60.png]


, and enabled an iterative optimization process in which [image: image62.png]


 was initially set equal to [image: image64.png]


 and was then locally perturbed. Recomputing [image: image66.png]P(G, IDNBs) /P(Go|DNBs)



 at each iteration allowed guiding of a simple greedy optimization process towards a (local) maximum. The greedy optimization process considered only single-base changes or single-base insertions or deletions, guaranteeing optimality for all variations consisting of a single base. The optimization process works for longer variations as well, but its effectiveness degrades as the deviations from the reference become longer and denser. 

For this reason, the optimization process was supplemented with a procedure in which local de novo assemblies were performed at selected locations, to generate multiple plausible seed sequences, which were used in turn to drive the optimization process towards more global optima. Local de novo assembly used a method similar to the De Bruijn graph approaches to contiguous reads, but with substantial modifications to accommodate our variably gapped reads. The pool of DNB arms used for each local de novo assembly was selected from DNBs that mapped to the reference one mate pair away from the region of interest. This seeding procedure made the optimization process much more resilient to the existence of local optima in the [image: image68.png]P(G, IDNBs) /P(Go|DNBs)



 landscape. Also, although genomic regions were processed one at a time, joint probabilities of pairs of distant variations were computed, resulting in a substantial reduction of false positives in regions of segmental duplication.

The above-described resequencing assembly procedure generated a hypothesis file consisting of, for each localized region of the genome, a set of sequence hypotheses for the [image: image70.png]


alleles in said region, as well as their respective probability ratios relative to the null hypothesis [image: image72.png]


.  In addition, the process generated a variations file containing, for each reference location, a single most likely reconstruction of the diploid target genome, together with a variant quality score. This was accomplished by identifying variations found consistently in the top hypotheses (hypotheses with computed probabilities greater than the probability of the most likely hypothesis divided by a threshold, usually set around a factor of 1000, i.e. 30 dB) and scoring each variation on the basis of the likelihood ratio of the top hypothesis versus the best hypothesis inconsistent with that variation.  Areas in which the most likely hypotheses gave contradicting results were “no-called”. 

Section 9:  Sanger sequencing of discordances with reference data

Sanger sequencing of selected loci was performed for NA07022 to evaluate predicted heterozygous and homozygous SNPs, indels, and discordances with HapMap genotyping. Once loci for confirmation sequencing were identified, PCR primer sequences flanking the variants of interest were designed with the JCVI Primer Designer (http://sourceforge.net/projects/primerdesigner/, S1), a management and pipeline suite build atop Primer3. Synthetic oligos [Integrated DNA Technologies, Inc. (IDT), Coralville, IA] were used to amplify the loci with Taq polymerase and the PCR products were purified by SPRI (Agencourt). Purified PCR products were Sanger sequenced on both strands (MCLAB). The resulting traces were filtered for high quality data, run through TraceTuner (http://sourceforge.net/projects/tracetuner/, S2) to generate mixed base calls, and aligned to their expected read sequence with applications from the EMBOSS Software Suite (http://emboss.sourceforge.net/, S3).  For each locus, the expected read sequence was generated for each strand by modifying the reference based on the predicted variation(s) to reflect the combination of the two allele sequences.  A locus was determined to be confirmed if the corresponding traces aligned exactly to the expected read sequence at that variant position for at least one strand.  Any strand contradiction or discrepancies due to background noise were resolved by visual inspection of the traces. 

Section 10: Analysis of impact of coding SNPs

All SNP variants identified in NA07022 were analyzed with Trait-o-Matic software (as in S25).  This software, run as a website, returns all non-synonymous SNP (nsSNP) variants found in HGMD, OMIM and SNPedia (cited SNPs), as well as all nsSNPs not specifically listed in the preceding databases, but that occur in genes listed in OMIM (uncited nsSNPs). Analysis of the NA07022 genome with Trait-o-Matic returned 1,141 variants, including 605 cited nsSNPs, and 536 uncited nsSNPs. Filtering of 320 variants with BLOSUM100 scores below 3 and 725 variants with a minor allele frequency (MAF) > 0.06 in the Caucasian/European (CEU) population (weighted average of HapMap and 1000 genomes frequency data) left 55 cited nsSNPs and 41 uncited SNPs. Forty one cited nsSNPs were removed either because their phenotypic evidence was based solely on association studies, or because they were not disease-associated (e.g. olfactory receptor, blood type, eye color), and 38 uncited nsSNPs were removed because they had non-obvious functional consequences. Table S9 lists the remaining 14 cited nsSNPs (12 heterozygous loci and one compound heterozygous locus), three uncited nsSNPs (two nonsense mutations and one homozygous mutation) as well as two common variants in APOE with potential phenotypic consequences.
Section 11.  False Discovery rate (FDR) calculation for novel variations

Of the variations called in NA07022 that were novel with respect to dbSNP (build 129) and non-synonymous with respect to the NM_* set of NCBI Build 36.3 annotated transcripts, a random subset was assessed with Sanger sequencing (Table S8). For the purposes of this analysis, all indels that overlap the coding regions of transcripts were treated as non-synonymous changes irrespective of frame change. Errors detected within these assessed variations were used to estimate 95% confidence intervals (exact) for the FDR within non-synonymous novel variations of each type (homozygous or heterozygous forms of SNP, insertion, deletion and block substitution). These error rates were multiplied by the total number of novel non-synonymous variations detected and divided by the total length of coding sequence in the NM_* set of transcripts to estimate  the number of false positives (FPs) per megabase of genomic sequence.  The calculation for SNPs also corrected for the fact that not all possible mutations are non-synonymous. The FDR rate for novel variations was computed from the estimated FP rate and the total number of novel variations detected.

This approach yields a FP rate estimate of between 1 and 5 heterozygous events per megabase of each variation type.  Heterozygote indels and block substitutions have a similar combined novel FP rate per Mb to SNPs (3.0-5.6 vs. 2.1-5.3).  There was insufficient data to estimate FDRs and FPs reliably for homozygous novel variations, though very few homozygous non-synonymous variations were called, and those that were detected were generally confirmed. 
We also estimated the overall FDR within all our variation calls (SNP, deletion, insertion, block substitutions) in Table 3. For this purpose, in the absence of statistically reliable estimates of the FPs and FDR in homozygote calls, we used the higher estimated rates for heterozygote calls.  This is a conservative choice, as the error rate for homozygote calls is substantially lower than that for heterozygotes (e.g. Fig. S8) and the number of false positive errors in known variations is also lower.  Conversely, our projections based on testing coding variants may underestimate FDRs in non-coding regions.
Supplemental Materials Online - References

S1. G. A. Denisov, A. B. Arehart, and M. D. Curtin, US Patent 6681186 (2004).

S2. K. Li et al., BMC Bioinformatics 9, 1 (2008).

S3. P. Rice et al., TIG 16, 276 (2000).
S4. J.C. Venter, et al. Science 291, 1304 (2001).
S5. S. Levy et al., PLoS Biol 5, e254 (2007).

S6. D.R. Bentley, et al., Nature 456, 53(2008).
S7. D. Pushkarev, N.F. Neff, S.R. Quake, Nat. Biotechnol.  27, 847 (2009). 
S8. G.R. Villani, G. Pontarelli, D. Vitale, P. DiNatale, Hum Genet 115, 173 (2004).

S9. D. A. Wheeler et al., Nature 452, 872 (2008).

S10. K. Assink et al., Kidney Int 63, 1995 (2003).

S11. http://www.ncbi.nlm.nih.gov/entrez/dispomim.cgi?id=209901
S12. J. Wang et al., Cell 98, 47 (1999).

S13. M. Buzza et al., Kidney Int 63, 447 (2003)

S14. E. Gross et al., Hum Mutat 22, 498 (2003).

S15. http://www.ncbi.nlm.nih.gov/entrez/dispomim.cgi?id=276700
S16. K. Ritis et al., Ann Rheum Dis 63, 438 (2004).

S17. F. Donaudy F et al., Am J Hum Genet 72, 1571 (2003).

S18. S. Furuki et al., J Biol Chem 281, 1317 (2006).

S19. C. G. et al., Cytokine 24, 173 (2003).

S20. J. P. Hugot et al., Nature 411, 599 (2001).

S21. http://www.ncbi.nlm.nih.gov/entrez/dispomim.cgi?id=600805
S22. http://www.ncbi.nlm.nih.gov/entrez/dispomim.cgi?id=605514
S23. http://www.ncbi.nlm.nih.gov/entrez/dispomim.cgi?id=605194
S24. http://www.ncbi.nlm.nih.gov/entrez/dispomim.cgi?id=107741
S25. J.I. Kim, et al. Nature. 460, 1011 (2009).
SOM Tables

	Ad
	Position in Ad
	Purpose
	Sequence

	Ad1
	3T
	R ARM
	                                        5-CGGGAACGCTGAAGA-3dd

	Ad1
	3B
	R ARM
	                       3dd-CACGTGCTATGCAGAGCCCTTGCGACTTCT-5P

	Ad1
	5T
	L ARM
	          5P-ACTTCAGAACCGCAATGCACGATACGC-3dd

	Ad1
	5B
	L ARM
	           3dd-TGAAGTCTTGGCGTT-5

	Ad1
	3T
	BRIDGE1
	                                      5-CTCGGGAACGCT-3

	Ad1
	3T
	PCR1
	                         5-ATGCACGATACGUCTCGGGAACGCUGAAGA-3

	Ad1
	5B
	PCR1
	           3-TGAAGTCTTGGCGTUACGTGCTATGCA-5

	Ad1
	3T
	PCR2
	                           5-GCACGATACGUCTCGGGAACGCTGAAGA-3

	Ad1
	5B
	PCR2
	           3-TGAAGUCTTGGCGTUACGTGCTATGCA-5

	Ad1
	5B
	BRIDGE2
	                3-TCTTGGCGTTA-5

	Ad1
	B
	CAPTURE
	           3-TGAAGTCTTGGCGTTACGTGCTATGCAGAGCCCTTGCGACTTCT-5B

	Ad2
	3T
	R ARM
	                                    5-TTGCAATGACGTCTCGACTCAGCAGANN-3

	Ad2
	3B
	R ARM
	                                    3dd-CGTTACTGCAGAGCTGAGTCGTCT-5

	Ad2
	5T
	L ARM
	       5-GCTCCAGCGGCTAACGATAGCTC-3dd

	Ad2
	5B
	L ARM
	      3-CCGAGGTCGCCGATTGCTATCGAGTT-5

	Ad2
	3T
	BRIDGE
	                                           5-GACGTCTCGACT-3

	Ad2
	3T
	PCR
	                               5-AGCTCGAGCAAUGACGTCTCGACUCA-3

	Ad2
	5B
	PCR
	      3-CCGAGGTCGCCGATTGCTATCGAGCUCGAGCUCGTTA-5

	Ad3
	3T
	R ARM
	                                         5-TTGACTGCGCTTCGACTGGAGAC-3

	Ad3
	3B
	R ARM
	                                         3dd-CTGACGCGAAGCTGACCTCT-5

	Ad3
	5T
	L ARM
	        5-ACTGCTGACGTACTGCGAGC-3dd

	Ad3
	5B
	L ARM
	      3-NNTGACGACTGCATGACGCTCGTT-5

	Ad3
	3T
	PCR
	                           5-AAGCTCGAGCUCGAGCGACTGCGCTTCGACTGG-3

	Ad3
	5B
	PCR
	        3-TGACGACUGCATGACGCTCUTCGAGCTCGA-5

	Ad3
	5B
	BRIDGE
	               3-TGCATGACGCTC-5

	Ad4
	3T
	PCR
	                         5P-AGACAAGCTCGAGCTCGAGCGATCGGGCCGTACGTCCAACT-3

	Ad4
	3T
	R ARM
	                                           5-TTGCGTCGGGCCGTACGTCCAACTT-3

	Ad4
	3B
	R ARM
	                                             3-CGCAGCCCGGCATGCAGGTTGA-5P

	Ad4
	5T
	L ARM
	5P-AGTCGGAGGCCAAGCGGTCGTC-3

	Ad4
	5B
	L ARM
	3-TTCAGCCTCCGGTTCGCCAGCAGTT-5

	Ad4
	5B
	PCR
	 3-TCAGCCTCCGGTTCGCCAGAATCCT-5B


Table S1: Library construction oligos. Oligos used in creating and inserting each adaptor are presented. All oligos were purchased from IDT. Adaptor position indicates the position (3 = 3’, 5=5’) and strand (T=top, B=bottom) of the oligo relative to the top strand of the inserted adaptor, such that the resulting ssDNA circles contain the top strand of the adaptor, and the resulting DNBs contain the bottom strand of the adaptor. Oligos are offset and presented 3’->5’ or 5’->3’, to emphasize their function and relative position in the adaptor. Oligo termini are labeled with 5 or 3 to indicate orientation, and with P, dd, or B to indicate 5’ PO4, 3’ dideoxy, or 5’ biotin modification, respectively. Palindromes included to enhance formation of compact DNBs via 14-base intramolecular hybridization are underlined.

	dbSTS ID
	Locus
	Chr
	Start
	Stop
	Amp bp
	Primer1
	Primer2
	Amp GC
	1 kb GC

	dbSTS_40424
	SHGC-36683
	10
	89518722
	89518797
	75
	CTTGCTCTGTCAGCCGTACA
	TGGAAAGACTGTTTGAGCCC
	0.46
	0.37

	dbSTS_60513
	SHGC-36712
	14
	19995899
	19995978
	79
	TAACCTCCCCCAAAGACTGA
	TCCTCCCGACCTTTTTTACC
	0.54
	0.47

	dbSTS_58182
	SHGC-76075
	1
	228892429
	228892516
	87
	GTGCTTTCACTGAGAGTGCC
	CTTATTCCAGCTTCAGAGCG
	0.47
	0.51

	dbSTS_44346
	SHGC-74825
	1
	51883085
	51883173
	88
	GAGCAGTGATGATCAGAAAG
	GTATCAACTCCTTGAAGAGC
	0.36
	0.45

	dbSTS_32317
	SHGC-56598
	10
	33619335
	33619425
	90
	CCGACCCTGGTTAATCCAAA
	GCAAGGTTGTGACCCAATGA
	0.46
	0.38

	dbSTS_94495
	SHGC-56594
	13
	46128811
	46128901
	90
	TTAGGGACCATTGGCTACGG
	GGCCAAACCATGTGGAGTTT
	0.49
	0.34

	dbSTS_95402
	SHGC-64737
	15
	32163716
	32163806
	90
	CAACGTCGGGATGACTCAAG
	ATTTGCACAAACACGGCAAC
	0.46
	0.35

	dbSTS_52215
	SHGC-64340
	2
	112591609
	112591699
	90
	GGATATCCCAAAGCAAGGGC
	TTCAGTCGTGACCATGTGGA
	0.43
	0.36

	dbSTS_94366
	SHGC-58491
	6
	136920206
	136920296
	90
	TGGTTTTGTTCCAGTGGTGC
	TGCAGCAGCTATTGCACTTC
	0.41
	0.34

	dbSTS_34545
	SHGC-64940
	14
	53960308
	53960399
	91
	CGCAATCCTTATGCAGGTCA
	CTTTGGGGTTGGAGTGAAGG
	0.4
	0.35

	dbSTS_55622
	SHGC-76658
	3
	425029
	425120
	91
	GGTTAAGCAACCTGCCTAAT
	TAGAGAACTGTCCAAGGGTT
	0.42
	0.32

	dbSTS_95405
	SHGC-64749
	6
	146247850
	146247941
	91
	GCATGGGCCTTCTGAATCTC
	GCAAGTAAACAGTGGAGCCC
	0.45
	0.31

	dbSTS_10891
	SHGC-58057
	12
	31522488
	31522580
	92
	ACTTGGCTCAGCCCCACTTA
	TAGTGCAATCCCGACTGGTG
	0.37
	0.39

	dbSTS_94368
	SHGC-58494
	12
	50487695
	50487787
	92
	CGGCAGCCTCTCTTCTGTTT
	ATGCTTGGGCAGGTGGTTAC
	0.46
	0.45

	dbSTS_94391
	SHGC-58546
	13
	23919189
	23919281
	92
	TCGATCATTGCGAAACAAGG
	CTGTCTCCGTCAAATGGCAG
	0.59
	0.42

	dbSTS_94392
	SHGC-58548
	13
	102148231
	102148323
	92
	ACACTGGGAAAGGAGGCAAA
	AGCTGAGGTCCTGGTGGAAA
	0.51
	0.48

	dbSTS_44804
	SHGC-58073
	15
	58597387
	58597479
	92
	GAGGGCTGCCATGCTATTTC
	ATGCAAGGTGGAAAAGAGCC
	0.46
	0.39

	dbSTS_94445
	SHGC-58649
	2
	96736372
	96736464
	92
	GAGTCAAACAACACGGCAGC
	TGGGAGCAGAGGTGTGAAGA
	0.46
	0.51

	dbSTS_76809
	SHGC-57036
	2
	201400109
	201400201
	92
	TTACTGGCTTGGATGGCTGT
	CGGCACACAGAATGGAGAAA
	0.43
	0.38

	dbSTS_42002
	SHGC-64844
	4
	76626432
	76626524
	92
	GAACTGCACGCGTAGTGTCA
	TGGAAGCCAATGATGTTTGC
	0.38
	0.32

	dbSTS_46570
	SHGC-57456
	4
	107456223
	107456315
	92
	GCAAAATTCTGCCTCCAAGG
	ATCGCTCTGTCACTGCCTCA
	0.48
	0.48

	dbSTS_94322
	SHGC-58434
	5
	126234050
	126234142
	92
	ATTTGCTTTCTTCTGGCGGA
	CCAAGCCCTTCCTTAAGCCT
	0.48
	0.42

	dbSTS_78408
	SHGC-56925
	9
	19366011
	19366103
	92
	TTCCCCTAAGTTCCATGCCA
	TACAGGGGTTCCTTTCAGGG
	0.52
	0.37

	dbSTS_94467
	SHGC-58840
	9
	33768933
	33769025
	92
	CCATCTACTGGATCACGGCA
	TGGGTGAATTCTTGCACCTG
	0.40
	0.38

	dbSTS_35438
	SHGC-24154
	15
	40803081
	40803174
	93
	CTAAATGCCCTGTGCTTGGT
	AAACCTGACTTTCCCCCTGT
	0.54
	0.46

	dbSTS_47229
	SHGC-61007
	16
	492844
	492937
	93
	GCACTCCCAAGTCAATCTGA
	GTGCTTTAAGTGGGAGAAGA
	0.55
	0.58

	dbSTS_14335
	SHGC-9599
	21
	36414870
	36414963
	93
	AGCTTTCTGTCCCCAGATGA
	TGAGAGTAGCTTGGCTGGGT
	0.62
	0.50

	dbSTS_77703
	SHGC-57871
	5
	132474685
	132474778
	93
	TTCAATGAGGGGAAAAACGG
	CATCCACCCGTTCTGTGAGA
	0.43
	0.49

	dbSTS_47845
	SHGC-58218
	8
	9951012
	9951105
	93
	GCATAGCAAAGACACGGCAG
	ACGTGCATGTTTAAAGGCGA
	0.46
	0.34

	dbSTS_6049
	SHGC-56435
	1
	37947507
	37947601
	94
	AATGAGGCCACCAAGCAAGT
	TGGTCCCTGCCAAGTCTGTA
	0.54
	0.47

	dbSTS_18115
	SHGC-57907
	1
	61699413
	61699507
	94
	ATCAAGCATGGGTACCTGGC
	TCAGGGGCATTTTCCTTGAC
	0.45
	0.38

	dbSTS_70892
	SHGC-63664
	3
	123142651
	123142745
	94
	TGATGGACGGGCAGACATAG
	CCTCCACCTTTCTCCAATGA
	0.48
	0.42

	dbSTS_73691
	SHGC-24253
	4
	124130296
	124130390
	94
	TGGGATAGGGCAAGTACTGG
	GCAGCACAATGTGGAGAGAA
	0.49
	0.51

	dbSTS_954
	SHGC-56583
	1
	144374149
	144374244
	95
	AAACCAAAAGCCCCACAATG
	CCTGGCAAGCACTTGATGTC
	0.34
	0.37

	dbSTS_27364
	SHGC-57340
	14
	73253243
	73253338
	95
	CATAAAGGGGCCTGAAACCA
	AATACGAGTGCCTTCGCAGC
	0.43
	0.45

	dbSTS_1453
	SHGC-60521
	16
	22913466
	22913561
	95
	AAAGCCTTCCTTCCTCTGGC
	AAAGGAGTGGGTGCAGGAGA
	0.51
	0.47

	dbSTS_94452
	SHGC-58808
	16
	88561778
	88561874
	96
	TGTGGTCTTCCACAAGGTGC
	ACACAGCCGGTAAACGGAAT
	0.58
	0.52

	dbSTS_73264
	SHGC-63641
	17
	41605535
	41605631
	96
	TGGCACCTTTCAATCTGTGG
	TTTCATCTGGGAGAAAGGGG
	0.47
	0.42

	dbSTS_72616
	SHGC-56684
	19
	54563908
	54564004
	96
	TGCTTGCCAAAAGACTTGGA
	ATTTGGTCTCGACGTGCTCA
	0.43
	0.38

	dbSTS_62182
	SHGC-58372
	7
	28082549
	28082645
	96
	TAGCAAAGCCAGTCATGGGA
	CACTTGGGGTAAGGCCAAAG
	0.43
	0.37

	dbSTS_38812
	SHGC-60143
	7
	75384024
	75384120
	96
	CTGGCAGCAAACATCCTCTG
	GAAAACAGCAGCATTGACCG
	0.47
	0.43

	dbSTS_70499
	SHGC-18202
	9
	101934459
	101934555
	96
	TGAGGCATACAAGAGCGTTG
	ACTATCCACTCCCTGCCCTT
	0.35
	0.35

	dbSTS_94369
	SHGC-58496
	10
	104664993
	104665090
	97
	TTCCAGCCCTTCCATTTCTG
	GCCTGTGGGTGGTTTTCTTC
	0.44
	0.41

	dbSTS_33042
	SHGC-58052
	11
	116596468
	116596565
	97
	CCTCCCGATTTTTGCTCCTA
	TCTAGCTTGGTTGTGGGGGT
	0.47
	0.54

	dbSTS_82784
	SHGC-60534
	12
	68271817
	68271914
	97
	TTTTAGCGCCTGAAAGCCAT
	CTGTTTCTGGTTGGGTCGGT
	0.46
	0.37

	dbSTS_7910
	SHGC-57777
	13
	20201257
	20201354
	97
	ACAGCGAAACTCATTTGCCA
	TGCCATCATGGAAGAACAGG
	0.49
	0.46

	dbSTS_3100
	SHGC-24371
	15
	38632672
	38632769
	97
	AACCTGCCACAAGGAAGATG
	CTTAAAAAGGGCCAGGTTCC
	0.40
	0.44

	dbSTS_20565
	SHGC-57668
	2
	36845663
	36845760
	97
	ATTAGCAAAGGCTCCCCACA
	AGGCTGAAAAACACCCTGGA
	0.40
	0.46

	dbSTS_18654
	D12S1914
	12
	263814
	263905
	91
	ATCCTCTGATGAAGCCATGG
	ACCCCAATGTCTGCTGTTTC
	0.48
	0.40

	dbSTS_64880
	RH67995
	2
	267874
	267973
	99
	TCAGAGGCAAAGTGGTTCAG
	AATCAGTCGTTGGCACCTTC
	0.46
	0.36

	dbSTS_16871
	SHGC-64053
	12
	891582
	891682
	100
	AGTTGCGTTTGAGCATCCCT
	CACGAGGTCACGTGTGGAAT
	0.46
	0.44

	dbSTS_10701
	STS-M78768
	10
	1165307
	1165392
	85
	ACTGTTTGCCAGCACAGACC
	CTTTCCAGGGTCAAACTCTC
	0.47
	0.48

	dbSTS_14719
	STS-M78867
	16
	2754937
	2755009
	72
	AGGAGTCTGAGGCAAAGCTT
	CCTAGAACGCCATCTAGAGG
	0.51
	0.50

	dbSTS_75084
	D7S544E
	7
	4139901
	4139986
	85
	TGTCTGGTATGGCAATATCC
	AACTGGCCTGTTAGAGGCAA
	0.55
	0.49

	dbSTS_52480
	D11S4356
	11
	5492338
	5492429
	91
	GGCAAATGAGATGGTCAGGT
	GCAAGCTCAAGAGATCCCAG
	0.51
	0.46

	dbSTS_96961
	RH102627
	6
	7645101
	7645185
	84
	TCAGTTGCAAGCTGGAAGAG
	TGAGACCCAACCTGTCCTTC
	0.49
	0.44

	dbSTS_74808
	RH64133
	20
	7910792
	7910857
	65
	TGTCAACTTCCCTTTGGCCT
	GAAGCTTGCTCATTCAGGAA
	0.42
	0.46

	dbSTS_26563
	D11S2033
	11
	10942554
	10942654
	100
	CAGGCCATTTAAGGTCTTCT
	GCATGTTCTAACCTATTGCG
	0.38
	0.42

	dbSTS_109217
	G49547
	4
	15029609
	15029704
	95
	GCAAGCTTGTTCCACAATGG
	GTAGGGAATTGGGGGCATTT
	0.44
	0.42

	dbSTS_10547
	SHGC-58076
	6
	15362794
	15362893
	99
	ACTGGCCTTCCTCTTCATGG
	TTCTTGAGAGCTGGTGCTGC
	0.43
	0.47

	dbSTS_62714
	RH36253
	5
	16505510
	16505610
	100
	TAGTGCATGCCCATAGTCGA
	TGCAGTGGCATGCTTTACTC
	0.39
	0.38

	dbSTS_60542
	RH47428
	18
	17702546
	17702628
	82
	TAACGTTGCCTTTTTGAGGG
	GTGCCTTGTTGGAAGTGTCA
	0.36
	0.32

	dbSTS_40842
	RH36412
	6
	20564315
	20564415
	100
	CTTTCTAGGGCTTGAAGGCC
	TGGGTCTTACCCAGAGATGG
	0.44
	0.39

	dbSTS_31045
	SHGC-64027
	14
	21036722
	21036813
	91
	CCCAAAAGCACTGCTCCCTA
	CCAGGGGGCAGATTCAATAC
	0.50
	0.39

	dbSTS_76610
	SHGC-60522
	16
	23056848
	23056944
	96
	TTACACATTTGCAGGGGCAG
	ATCAATGGCACCTTAGGGCA
	0.46
	0.34

	dbSTS_48172
	SHGC-60478
	16
	23585602
	23585696
	94
	GCATTTGGCCATTCTACCGT
	GCAGGACCCCAATATGGAGA
	0.46
	0.42

	dbSTS_2976
	D14S1329
	14
	23619966
	23620062
	96
	AACCCAGCCCACATGACTAG
	CTCCACCTCCCATTCACTGT
	0.62
	0.58

	dbSTS_14534
	SHGC-60508
	16
	24167956
	24168050
	94
	AGGACACACCCAAACCTGCT
	TACCCAAAGGACATCACCCC
	0.51
	0.42

	dbSTS_95333
	G48236
	18
	26653380
	26653480
	100
	CCTGTTCAATCTGGGCACAA
	ATGGAGCAAGACGATGCAGA
	0.44
	0.38

	dbSTS_33362
	STS-M79255
	17
	26888363
	26888447
	84
	CCTGATCCTTGTGGACGAAT
	GAGCCCTGTAAATGTGTACT
	0.58
	0.56

	dbSTS_7074
	STS-M79217
	8
	28644686
	28644777
	91
	ACAACCGATTCTTACCCTGG
	AACATGATTTCGTCATGGCG
	0.47
	0.43

	dbSTS_66129
	D3S1315
	7
	28959603
	28959693
	90
	TCCAGGCATTAGGCATTTTC
	TCCCATTGCAAGTATGGACA
	0.48
	0.42

	dbSTS_99545
	DMD
	X
	31435382
	31435482
	100
	GGTGAAATTGAAGCTCACAC
	GTAACAGGACTGCATCATCG
	0.44
	0.33

	dbSTS_99541
	DMD
	X
	32271180
	32271275
	95
	GGTATCAGTACAAGAGGCAG
	CCTTTCATCTCTGGGCTCAG
	0.45
	0.31

	dbSTS_42866
	SHGC-57948
	15
	32313742
	32313842
	100
	GACAAACCGAACTGGCAGAA
	AAAAGCCACAATAGGGCAGC
	0.43
	0.44

	dbSTS_40176
	RH64484
	1
	32464372
	32464464
	92
	CTTCTCAAGACCAATTCGGC
	TGGTAGCCCATCTGCTTGTC
	0.54
	0.52

	dbSTS_58361
	SHGC-13207
	2
	32753727
	32753827
	100
	GTGGGAAAACAAGGCTCAAA
	GGACTCAGAATTTGGGGTCA
	0.39
	0.39

	dbSTS_25085
	D11S2229E
	11
	33333702
	33333772
	70
	CACTGCTTGTGTTAATGGAG
	AGCTCTAGTACAGCGTTCAC
	0.38
	0.30

	dbSTS_8422
	D7S2250
	7
	35345071
	35345120
	49
	ACATGGTCTGGATGTAGTCA
	GGTTCGTGCACATAACTGAG
	0.48
	0.42

	dbSTS_801
	SHGC-74569
	1
	36101135
	36101220
	85
	AAACAAGCAAAACTGCCTGC
	GTCAAGGCTGTGCATGAAAA
	0.41
	0.41

	dbSTS_48785
	D22S624
	22
	36130810
	36130910
	100
	GCCCTCCTCACAACAACCTA
	GATCCTTGGCAAGTCACTTC
	0.47
	0.57

	dbSTS_25852
	Cda1bg09
	9
	36153689
	36153779
	90
	CAGATGCCTGCTGTTAAGCC
	TGCTGAGTGTCCCTGAAACC
	0.6
	0.54

	dbSTS_25807
	STS-M79042
	22
	37548264
	37548357
	93
	CAGATACAGTTGATGGGCAG
	GGAGCGTCTCAAGTGAACAG
	0.59
	0.61

	dbSTS_44401
	SHGC-52005
	21
	37548352
	37548445
	93
	GAGCCAGCAGATTGAAATCC
	CTCTGAAGTTTGCCTGCATC
	0.45
	0.46

	dbSTS_87476
	RH93622
	2
	38937503
	38937584
	81
	CCTTTGTTGGATTTGTTGGG
	CCACAACTCATTCTGGCTGA
	0.41
	0.41

	dbSTS_10689
	SHGC-64051
	22
	39057860
	39057955
	95
	ACTGTTGCTGGCAGGTCTGA
	TGCACGGCTAGGATCAAGAA
	0.54
	0.46

	dbSTS_43034
	DXS7568
	X
	39855650
	39855747
	97
	GACACTGGAATAAGTGCAGC
	TTCCATTGTATGCATGTGCC
	0.38
	0.43

	dbSTS_12976
	SGC30523
	17
	40339808
	40339908
	100
	AGCAGCCTGAGGAAACTCAA
	CTCCACATCCCTGATTCCTG
	0.50
	0.58

	dbSTS_56232
	RH64488
	1
	42107935
	42108031
	96
	GTACAGTCTAATGAGTTGGG
	CACAGAAACTCTTGCAGGTG
	0.45
	0.43

	dbSTS_22659
	D14S47
	14
	43567803
	43567878
	75
	CAACATAGCAAGACCCTGTC
	GCACATGCCACCAAGACAAG
	0.50
	0.43

	dbSTS_70883
	D11S4606
	11
	43834547
	43834638
	91
	TGATGCTGATAGCAGATGGC
	GGCCTTAGCTTCTGGCTTTT
	0.36
	0.37

	dbSTS_3864
	NIB1885
	16
	45674296
	45674396
	100
	AAGAGCAGTCTTCTTGTTGC
	TTTATAGGAAGCACTGCCAG
	0.48
	0.37

	dbSTS_67522
	STS-M78744
	2
	46467139
	46467221
	82
	TCGTTACGTTGACAGGTAGG
	AGGGCATTTTACCCTTGCAG
	0.36
	0.41

	dbSTS_64465
	STS-M79003
	12
	47616289
	47616377
	88
	TCACAGTCATCGCGTTATCC
	GTTCCTCCTCTGGAATGTAG
	0.42
	0.49

	dbSTS_99100
	DXS1267
	X
	47726699
	47726755
	56
	CACAGAGTTGTACAACCATC
	CAGTGTGATGAACACGTTCT
	0.42
	0.39

	dbSTS_95308
	G48211
	17
	47807954
	47808053
	99
	TGAATCCACTCCAATTCCCA
	AGCTAATTTCCCTCCTCGGG
	0.36
	0.39


Table S2: QPCR marker details. Markers were selected from dbSTS to be less than 100 bp in length, to use primers 20 bases in length and with GC content of 45-55%, and to represent a range of locus GC contents. Start and stop coordinates are from NCBI Build 36. Amplicon GC contents are of the amplified PCR product, and 1 kb GC contents are calculated from the 1 kb interval centered on the amplicons.

	
	# clones
	% of clones

	All adaptors intact
	143
	97.2

	Adaptor 2 missing
	1
	0.7

	Adaptor 1, 2, 3 missing*
	1
	0.7

	Adaptor 1, 2, 3 wrong orientation*
	2
	1.4

	Total
	147
	100.0


Table S3: Sanger sequencing of library intermediates to assess adaptor structure. See SOM text for details. 147 of 192 library clones contained at least one high quality Sanger read. 143 of these 147 clones (>97%) contained all 4 adaptors in the expected orientation and order.  Moreover, 3 of the 4 clones (*) with aberrant adaptor structure were expected to be eliminated from the library during the RCR reaction used to generate DNBs, implying  about 99% of DNBs were expected to have the  correct adaptor structure. Data derived from NA07022.

	Adaptor
	bp
	# clones
	Total bp
	Mutations in:
	Mutation rate

	
	
	
	
	Adaptor termini
	Other region
	All regions
	

	1
	44
	89
	3916
	3
	2
	5
	0.13%

	2
	56
	89
	4984
	2
	4
	6
	0.12%

	3
	56
	89
	4984
	0
	5
	5
	0.10%

	4
	66
	89
	9523
	0
	8
	8
	0.08%

	Total
	222
	89
	23407
	5
	19
	24
	0.10%


Table S4: Sanger sequencing of library intermediates to identify adaptor mutations. Analysis of 89 cloned library constructs for which high quality forward and reverse Sanger sequencing data was available revealed about one mutation per 1000 bp of adaptor sequence. Also, 5 of the 89 cloned library constructs (5.6%) had mutations within 10 bp of one of its eight adaptor termini; such mutations might be expected to affect cPAL data quality. The majority of the adaptor mutations are likely introduced by errors in oligo synthesis. A much lower mutation rate would be expected to result from 32 cycles of high fidelity PCR (32*1.3E-6 < 1in 10,000 bp). Data derived from NA07022.
	Year
	reference
	Technology
	Sample
	Average Reported Coverage depth (fold)
	Reported sequencing consumables cost
	Estimated cost per 
40-fold coverage

	2007
	S4
	Sanger (ABI)
	JCV
	7
	$10,000,000
	$57,000,000

	2008
	S5
	Roche(454)
	JDW
	7
	$1,000,000
	$5,700,000

	2008
	S6
	Illumina
	NA18507
	30
	$250,000
	$330,000

	2009
	S7
	Helicos
	SRQ
	28
	$48,000
	$69,000

	2009
	this work
	this work
	NA07022
	87
	$8,005
	$3,700

	2009
	this work
	this work
	NA19240
	63
	$3,451
	$2,200

	2009
	this work
	this work
	NA20431
	45
	$1,726
	$1,500


Table S5:  Historical human genome sequencing costs that have improved after these genomes (including this work) were sequenced.  JDW costs may include more than consumable costs.  Our costs were calculated from the amount and purchase prices of reagents (including labware and sequencing substrates) used in generating all raw reads resulting in the reported number of mapped reads.
	Variation type
	NA07022 Variant count (% novel1)
	NA19240 Variant count (% novel1)
	NA20431 Variant count (% novel1)

	SNPs
	All
	3,076,869 (10%)
	4,042,801 (19%)
	2,905,517 (10%)

	
	Homozygous2
	1,097,899 (2%)
	1,297,601 (4%)
	965,029 (1%)

	
	Heterozygous2
	1,800,287 (15%)
	2,639,864 (27%)
	1,657,540 (16%)

	
	Transitions3
	2,858,818
	3,635,882
	2,658,112

	
	Transversions3
	1,316,837
	1,706,195
	1,213,232

	
	Coding
	18,723 (9%)
	23,000 (16%)
	16,532 (10%)

	
	Non-synonymous
	9,286 (11%)
	11,400 (19%)
	8215 (12%)

	Short Insertions
	168,909 (37%)
	242,391 (40%)
	136,786 (37%)

	Short Deletions
	168,726 (37%)
	253,803 (44%)
	133,008 (36%)

	Coding Short Indels
	556 (58%)
	549 (56%)
	435 (59%)

	Frameshifting Short Indels
	310 (62%)
	327 (61%)
	299 (71%)

	Block substitutions4
	Length conserving
	40,103 (42%)
	54,054 (39%)
	38,449 (33%)

	
	Length changing
	22,680 (61%)
	34,432 (64%)
	18,166 (60%)


Table S6:  Variations detected relative to Build 36 reference.  1 % novel; Proportion not found in dbSNP release 129.  2The remainder of SNPs were hemizygous, of unknown zygosity, or opposite a non-SNP allele.  3Count by allele; homozygous variants contribute 2x, heterozygous 1x.  4Block substitutions are complex events involving multiple SNPs (length conserving) or multiple indels with or without SNPs (length changing).  Block substitutions are considered novel if they are not consistent with combinations of one or more dbSNP entries.  

	 

 
	500k
	HapMap phase I&II SNPs
	HapMap Infinium subset

	NA19240
	# reported 
	-
	3.8 M
	144 K

	
	% called
	-
	98.46%
	98.45%

	
	% locus concordance
	-
	99.14%
	99.85%

	
	HapMap genotype calls
	Homozygous ref
	-
	99.22%
	99.92%

	
	
	Heterozygous
	-
	99.62%
	99.81%

	
	
	Homozygous alt
	-
	98.26%
	99.79%

	NA20431
	# reported 
	475 K
	-
	-

	
	% called
	94.18%
	-
	-

	
	% locus concordance
	99.75%
	-
	-

	
	Array genotype calls
	Homozygous ref
	99.88%
	-
	-

	
	
	Heterozygous
	99.45%
	-
	-

	
	
	Homozygous alt
	99.78%
	-
	-


Table S7:  Concordance with genotypes generated by the HapMap Project (release 24) and the highest quality Infinium assay subset of the HapMap genotypes or from genotyping on Affy 500k (genotypes were assayed in duplicate, only SNPs with identical calls are considered). 
	
	
	
	
	
	
	
	95% confidence interval (exact)

	Variation type
	Total novel non-synonymous variations detected in coding regions
	Successful Sanger assays
	Variation confirmed
	Variation not confirmed
	Novel non-synonymous false discovery rate (FDR)
	Estimated non-synonymous false positives in coding regions
	Novel false positive / Mb
	Estimated novel false positives on genome
	Novel variations detected
	Estimated novel false discovery rate

	SNP
	het
	660
	132
	115
	17
	13%
	8-20%
	51-131
	2.1-5.3
	6k-15k
	274,489
	2-6%

	
	hom
	16
	10
	10
	0
	0%
	0-31%
	Insf.
	Insf.
	Insf.
	18,384
	Insf.

	Deletion
	het
	76
	49
	20
	29
	59%
	44-73%
	34-55
	1.1-1.7
	3k-5k
	36,574
	8-14%

	
	hom
	11
	9
	9
	0
	0%
	0-34%
	Insf.
	Insf.
	Insf.
	8,095
	Insf.

	Insertion
	het
	96
	50
	21
	29
	58%
	43-72%
	41-69
	1.3-2.2
	4k-6k
	34,777
	11-18%

	
	hom
	9
	7
	5
	2
	22%
	4-71%
	Insf.
	Insf.
	Insf.
	6,493
	Insf.

	Block substitution
	het
	93
	32
	20
	12
	38%
	21-56%
	20-52
	0.6-1.6
	2k-5k
	16,391
	11-29%

	
	hom
	3
	2
	2
	0
	0%
	0-84%
	Insf.
	Insf.
	Insf.
	2,985
	Insf.


Table S8: Sanger sequencing of variants in NA07022. Non-HapMap variation call accuracy was assessed for 291 loci with Sanger sequencing on a random subset of variants that were novel (with respect to dbSNP build 129) non-synonymous (with respect to the NM_* set of NCBI Build 36.3 annotated transcripts; all indels are treated as non-synonymous changes irrespective of frame change) heterozygous and homozygous (not hemizygous, of unknown zygosity, or part of more complex events). This category of variants is enriched for errors, thus error rates can be extrapolated from a modest amount of targeted sequencing.  The extrapolation of errors assumes that error modes are similar within coding sequence and genome-wide as indicated by similar variant quality score distributions.  A 95% confidence interval was computed for the resulting novel non-synonymous false discovery rate (FDR), and projected onto the entire set of variants as described above (SOM text).  The testing of additional non-coding variants would increase accuracy of the genome-wide FDR estimates. 
	State
	Chr
	Location
	Gene
	Alteration
	Phenotype
	Notes on Variants

	Het
	17
	37949759
	NAGLU
	R737G
	Sanfilippo Syndrome B
	Identified in a patient with Sanfilippo Syndrome B, in association with a known Sanfilippo variant (S8). Also identified in Watson genome (S9) and NA20431.

	Het
	9
	135291831
	ADAMTS13
	P426L
	TTP
	Identified as part of a compound heterozygote in Thrombotic Thrombocytopenic Purpura patient (S10).

	Het
	11
	66050228
	BBS1
	M390R
	Bardet-Beidl Syndrome
	Homozygous variant reported as causative for Bardet-Beidl Syndrome in an oligogenic fashion (S11).

	Het
	19
	6664262
	C3
	L314P
	C3 structural variant
	Codes for a structural variant of C3, of unknown clinical significance. Also identified in NA20431.

	Het
	2
	201782343
	CASP10
	V410I
	ALPS type II
	Reported as recessive for ALPS type II (S12).

	Het
	2
	227624091
	COL4A4
	G999E
	TBMD
	G->E mutations are often causative in TBMD; possibly pathogenic in a heterozygous form (S13).  Also identified in Venter genome (S5).

	Het
	1
	97754009
	DPYD
	S534N
	DPYD deficiency
	Heterozygote may reduce DPYD expression.  Gross et al. (S14) note a severe phenotype in two compound heterozygotes.

	Het
	15
	78259581
	FAH
	R341W
	FAH deficiency
	Is a pseudodeficiency allele for FAH and is observed in compound heterozygotes with FAH deficiency (S15).

	Het
	16
	3244464
	MEFV
	R202Q
	FMF
	Possibly autosomal recessive causative variant for FMF (S16).

	Het
	12
	55711185
	MYO1A
	S797F
	early onset hearing loss
	Reported as causative for dominant early onset moderate sensorineural hearing loss (S17). Also identified in NA20431.

	Het
	22
	16946288
	PEX26
	L153V
	Infantile Refsum Disorder
	Reported as part of a compound heterozygote causative of Infantile Refsum Disorder (S18).

	Het
	19
	46550716
	TGFB1
	R25P
	hepatic fibrosis
	Affects TGFβ1 levels.  Associated with hepatic fibrosis in chronic HCV infections (S19).

	Comp. Het
	16
	49303427/ 49314041
	NOD2
	 R702W/ G908R
	Crohn's disease
	Compound heterozygote involving two variants (one with MAF of 0.03) associated with Crohn's disease (S20).

	Het
	18
	19737949
	LAMA3
	K2069X
	junctional epidermolysis bullosa
	LAMA3 inactivation is implicated in autosomal recessive Epidermolysis Bullosa (S21).  The most C-terminal mutation causative of disease is Q1368X.

	Het
	10
	55296582
	PCDH15
	Y1181X
	deafness
	PCDH15 inactivation is implicated in autosomal recessive deafness (S22).  The most C-terminal mutation causative of disease is S647X.

	Hom
	2
	130996158
	CFC1
	W78R
	Left-right axis abnormalities
	BLOSUM score of 4. CFC1 has 4 OMIM-listed variants that exhibit a dominant expression for left-right axis abnormalities; two of these have incomplete penetrance (S23).

	Comp. Het
	19
	50103781/

50103919
	APOE
	C130R/

R176C
	Alzheimer’s Disease
	These variants represent a ApoE4/ApoE2 heterozygote (S24)


Table S9: Summary of impact of coding variants in NA07022. See SOM text for details. 

SOM Figures

Figure S1: Library construction process details. A. Process schematic; see SOM text for details. B. Oligos and intermediates in Ad1 insertion; insertion of subsequent adaptors follow similar logic. Adaptor arms are oriented as they would be in circle formation. 5’, 3’, and 5’-phosphate oligo termini are indicated as 5, 3, 5P, respectively. Phosphodiester linkages to insert sequences are indicated by -> for the top strand and <- for the bottom strand. Grey sequences are products of previous steps. Oligo names correspond to details listed in Table S1.  Asterisk indicates nick in Ad1 circle ligation product. C. Polyacrylamide gels of selected library construction intermediates. Marker (M) for each gel contains fragments of 1000, 900, 850, 700, 600, 500, 400, 300, 200, 100, and 80 bp. Original fragmented DNA (F), Ad ligation (L), PCR (P), USER digestion (U), circularization ligation (C), PlasmidSafe exonuclease treatment (E), AcuI digestion (A), or EcoP15 digestion (Eco), are indicated, appended by the number of the adaptor involved in the reaction, where appropriate.  L1 demonstrates near complete decoration of DNA with Ad1 arms with novel nick translation ligation process. Smearing of the bands in the U lanes is characteristic of less mobile USER products with 15-30b ssDNA overhangs. The low mobility DNA in the C lanes is characteristic of circular dsDNA; we typically observe >70% conversion of linear to circular dsDNA. The descreet linear DNA band in the A lanes indicates near complete AcuI methylation and digestion. The 650pb band in the Eco lane indicates incomplete (50%) EcoP15 digestion.  P4 depicts the ~300 bp PCR product used to generate the ssDNA circles that are amplified to form DNBs. Data derived from NA07022.
Figure S2 QPCR analysis of library construction intermediates. Input genomic DNA and PlasmidSafe-treated circles were assayed with 96 STS markers. QPCR could not be performed on intermediates after EcoP15 digest, as the relevant insert fragments were too short to support amplification by QPCR primers. This analysis revealed an increase in the concentration of higher GC content markers at the expense of higher AT content markers in the Ad1 (purple), Ad2 (blue), and Ad3 (black) circles relative to genomic DNA (red). On average, there was a 1.4 Ct (2.5-fold) difference in concentrations of loci with 1 kb GC content of 30-35% versus those of 50-55%. This bias is similar to the fragment and base level coverage bias observed in the mapped cPAL data. Data derived from NA07022.

Figure S3:  DNB position represents the 70 sequenced positions within one DNB.  Read positions of up to 10 bases from an adaptor were detected as described in Section 4.  Positions 1 to 5 from an adaptor are represented by blue bars and positions 6 to 10 from an adaptor are represented by red bars. From left to right the adaptors and anchor read structures are: ad1 3’(1-5), ad2 5’ (10-6), ad2 5’(5-1), ad2 3’ (1-5), ad2 3’ (6-10), ad4 5’ (10-6), ad4 5’(5-1), ad4 3’ (1-5), ad4 3’ (6-10), ad3 5’(10-6), ad3 5’ (5-1), ad3 3’ (1-5), ad3 3’ (6-10), ad1 5’ (5-1).  Discordance was determined by mapping reads to the reference (taking the best match in cases where multiple reasonable hits were found) and tallying disagreements between the read and the reference at each position.  Unchained base reading tolerates sporadic base detection failures in otherwise good reads. The majority of errors occur in a small fraction of low quality bases.  Data derived from NA07022.

Figure S4:  The iterative adaptor insertion and sequencing strategy yields 8 distinct blocks of contiguous genomic reads.  Four blocks comprise each arm of a mate pair.  The spacing of the blocks is governed by read lengths and the distances between the restriction endonuclease recognition sites and cut sites.  While each enzyme used has a preferred cut distance, digestion is seen at lengths slightly greater and lesser (generally +/-1 of the preferred distance; ~1% of observations outside this range).  Rare gaps between r2-r3 and r6-r7 are presumably created by AcuI double cutting (e.g. first cut at base 13 and second cut at base 12), as these gaps correlate with rare -3 gaps between r1-r2 and r7-r8.  The exact length distribution for each library is determined by aligning a sample of reads to reference with permissive mapping settings, and examining only high-quality hits. These distributions are then used as parameters to guide mapping of the bulk of the data, to reduce both computational cost and frequency of spurious alignments, as well as to indicate likelihood of a DNB deriving from a hypothesized sequence.  Note that not all of the genomic bases in the library construct are sequenced due to the limitation of reading a maximum of 10 bases from an inserted adaptor.
Figure S5.  A.  Cumulative coverage for each genome.  The distributions are normalized for facile comparison.  The distribution for Poisson sampling of reads (blue), and for mapping with simulated 400 bp mate-pair DNB reads (purple) are provided for comparison.  In NA19240 only a few percent of the mappable genome is more than 3-fold underrepresented or more than 2-fold overrepresented.   B. Percent coverage of genome, sorted by GC content of 501-base windows plotted against the mean normalized coverage , reported by cumulative fraction of the genome represented for  NA07022 (Green line) and NA19240 (blue line).  NA20431 was similar to NA07022.  The principal differences between these two libraries are in the conditions used for adapter ligation and PCR. NA19240 was processed using conditions described in SOM, above. In contrast, NA07022 used Taq instead Klenow polymerase for A tailing at 72°C (minimizing the denaturation of AT rich sequences), and was amplified using twice the amount of DMSO and Betaine as was used for NA19240, resulting in overrepresentation of high GC content regions of the genome.   C.  The power to detect Infinium SNPs with heterozygous (brown, triangle) or homozygous (blue, circle) Infinium genotypes as a function of actual coverage depth at the variant site in NA07022.  Single-allele calls (one alternate allele, one no-called allele) are considered detected if they passed the call threshold (SOM).
Figure S6:  The proportion of insertions and deletions at sizes that are multiples of three is enhanced in coding sequence, reflecting their less disruptive impact.  Data derived from NA07022. 
 Figure S7:  Anomalous mapping of mate-paired arms can be used to call larger and more complex variations than is possible with unmated arms.  Here mapping evidence for a 1,500 bp heterozygous deletion on chromosome 1 is shown (A).  A pair of PCR primers was designed such that one primer lies adjacent to (but outside of) each end of the putative deletion.  The presence of two PCR products at the expected lengths confirms the deletion (B).  Data derived from NA07022.

Figure S8:  Concordance of 1M Infinium SNPs with called variants by percent of data sorted by variant quality score.  The percent of discordant loci can be decreased by using variant quality score thresholds that filter the percent of the data indicated.  Note the differently scaled y-axes.  Data derived from NA07022.

Figure S9: The proportion of variation calls that are novel (not corroborated by dbSNP, release 129) varies with variant quality score threshold. The variant quality score can be used to select the desired balance between novelty rate and call rate. Each point on the plots is the number of known and novel variations detected at a single variant quality score threshold. The dotted lines are an extrapolation of the novel rate from the highest-scoring 20% of known variation calls.  Note that novelty rate is not a direct proxy for error rate (Tables 3, S8) and that variant quality score has a different meaning for different variant types. Data derived from NA07022.

Figure S10: Schematic of six-adaptor read structure that increases read length from 70 to 104 bases per DNB. Each arm of the DNB has two inserted adaptors (Ad2+Ad3 and Ad4+Ad5) that support assaying 13+13+26 bases per arm. All inserted adaptors (Ad2-Ad5, in the order of insertion) are introduced with the same IIS enzyme (e.g. AcuI.  The alternative use of MmeI increases the number of assayable bases per arm to 18+18+26 or per DNB to 124) with the following steps recursively on an automated instrument: IIS cutting of DNA circles, directional adaptor ligation, PCR, USER digestion, selective methylation, and DNA circularization. The reaction time per adaptor can be as low as 10 hr per batch of 96 libraries in an automated system, yielding sufficient throughput to support multiple advanced sequencing instruments.  Each directionally inserted adaptor substantially extends the read length of SBS or SBL in addition to cPAL.
Figure S11: Tight distribution of DNB size range.  Signal is measured as direct hybridization of Cy3 labeled, adaptor-specific probe.  Times are from synchronized reaction initiation (SOM).
Figure S12:  A. Composite 4-color image of a scanned array showing high occupancy of patterned array positions.   B. Cluster-plot of normalized intensities from a high-density test array with 700nm center-to-center spot distance.  This array has 3.4 fold more DNA spots per image than 1.29 micorn arrays. It uses only 4.2 pixels per spot and generates similar raw base discordances.  
10

